## Slide 1
Unit 6
Generators and Motors

## Slide 2
Translation
Reading More
Translating skills
Text
Unit 6 Generators and Motors

## Slide 3
Generators and Motors

## Slide 4
发电机把机械能转换为电能。电动机将电能转换为机械能。
发电机和电动机有许多相似之处。它们的制造方法基本相同。此外，它们运行的电磁原理相同。
Generators change mechanical energy into electrical energy. Motors change electrical energy into mechanical energy.
Generators and motors are a lot alike. They are made in the same general way. Further, they both depend on the same electromagnetic principles for their operation.

## Slide 5
第一个原理称为发电机作用，亦称为感应，即磁场中的线圈切割磁力线时线圈中产生感应电压。在一些情况下，线圈运动；在另外一些情况下磁场运动；有时两者都在运动，但运动速度各异。机械能产生运动，运动产生电能。
The first principle is called GENERATOR ACTION. It is also called INDUCTION. Voltage can be induced into a wire that is in a magnetic field. This happens when the magnetic flux is cut by the wire.
In some cases, the wire moves. In other cases, the field moves. In still others, both are moving, but at different speeds. It takes mechanical energy to cause the motion. This motion causes electricity to be generated.

## Slide 6
The second principle is called MOTOR ACTION. This is simply the mechanical forces between magnets. When two magnets (or electromagnets) approach each other, one will be either pulled toward or pushed away from the other.
Some motors use one permanent magnet and one electromagnet. Others use two electromagnets. Either way, electrical energy creates at least one of the magnetic fields. Then, the forces between the two magnetic fields cause the motion.
第二个原理称为电动机作用。简单来说就是磁铁间的机械力作用。当两块磁铁（或电磁铁）相互靠近时，一块将吸引或排斥另一块。
有的电动机使用一块永磁铁和一块电磁铁。有的电动机则使用两块电磁铁。无论哪种方式，电能至少产生一个磁场。然后，两个磁场之间力的作用产生运动。

## Slide 7
CONSTRUCTION
Each type of motor and generator is built to do its own special job. All of them have two main parts. One part is called the stator. The stator is stationary; it does not move. The other part, the rotor, is mounted on bearings so it can rotate.
The rotor shaft sticks out beyond the housing. For a generator, a prime mover is coupled to this shaft. For a motor, the rotor shaft is coupled to a mechanical load.
结构
人们制造的各种类型的电动机和发电机是为了让其完成特定工作。它们都由两大部分构成：一部分称为定子。定子是固定静止的，不产生运动。另一部分称为转子，它安装在轴承上，可以转动。转轴伸出机壳外。对于发电机来说，转轴联接原动机。对于电动机而言，转轴联接机械负荷。

## Slide 8
GENERATORS
The input power to a generator is mechanical power. If the output is a direct current, the generator is called a DC GENERATOR. If the output is an alternating current, it is known as an ALTERNATOR.
Prime movers apply mechanical power to turn the rotor. Water wheels, windmills, steam and hydroturbines, diesel and jet engines, and hand cranks are all examples of prime movers.
发电机
输入发电机的是机械能。若发电机输出直流电，则称其为直流发电机。若输出交流电，则称其为交流发电机。
原动机利用机械能驱动转子。水车（轮）、风车、汽轮机和水轮机、柴油机和喷气发动机、手摇曲柄等都属于原动机。

## Slide 9
To make a rotor turn, the prime mover applies TORQUE. Torque simply means turning force. For example, when you tighten a nut on a bolt, you apply torque with a wrench.
原动机提供转矩使转子转动。转矩就是转动力。例如：当你把螺栓上的螺帽拧紧时，你就在扳手上施加了转矩。

## Slide 10
TORQUE
The amount of torque applied to a shaft is proportional to two things:
1. The amount of force applied.
2. The distance the force is applied away from the center of the shaft.
The torque, or turning force, is directly proportional to both force and distance. The more force you apply, the greater the torque. Also, the longer the crank handle, the greater the torque. The equation is: Torque (T)= force (F)×distance (D)
转矩
施加到转轴上的转矩与下述两因素成正比：
1．所施加的力的大小；
2．施加的力离转轴中心的距离。
转矩或转动力，与力和力臂成正比。力越大，转矩越大。手柄越长转矩越大。其公式如下： （转矩）=（力）×（距离）

## Slide 11
In conventional units of measurement, force is expressed in pounds. The abbreviation is lbf, for POUNDS FORCE. One lbf is the amount of force that would be applied by the weight of one pound. Distance is measured in feet (ft). Torque is expressed in pound force feet (lbf·ft). Torque may also be expressed in ounce force-inches (ozf·in).
在常用的计量单位中，力用磅表示。磅力缩写为lbf。一个lbf表示施加一磅重量的力。距离用英尺表示。转矩表示为磅力英尺（lbf·ft )，转矩也可用盎司力英寸（ozf·in）表示。

## Slide 12
MOTORS
The power input to a motor is electrical. Voltage is applied to a motor's terminals resulting in a current. The power output of a motor is mechanical. This power is transmitted by the rotor shaft as a torque. This torque tends to rotate a load, such as a fan or pump.
电动机
输入电动机的是电能。施加到电动机端子上的电压产生电流。电动机输出机械能。机械功率通过转轴以转矩形式输出。转矩可以驱动负荷转动，诸如一台风扇或一台泵。

## Slide 13
To drive a load at a particular speed, you need a certain amount of torque. If the motor's output is large enough, the load will turn. If the motor's torque output is too small, however, it will not drive the load. Torque requirement is one of the most important things to consider in selecting a motor.
As motor drives a load, mechanical power is drawn from the motor. The motor, in turn, draws electrical power from the source at the same rate.
需要一定的转矩才能驱动负荷以特定的速度转动。若电动机输出的转矩足够大，负荷将转动。若电动机输出的转矩太小，则不能驱动负荷。在考虑选择电动机时最重要的一个指标就是转矩要求。
电动机驱动负荷时，电动机输出机械能。而电动机则同时从电源得到等量的电能。

## Slide 14
New words and phrases
electromagnetic [i,lectrəumæg'netik] adj. 电磁的
voltage ['vəultidʒ] n. 电压
induce [in'dju:s] v. 劝诱；促使；感应
magnetic [mæg'netik] adj. 有磁性的；地磁的
flux [flʌks] n. 磁力线；磁通量
motion ['məuʃən] n.. 运动；动
magnet ['mæɡnit] n.. 磁铁；磁石；磁体
stator [‘steitə] n. 定子
stationary ['steiʃənəri] adj. 静止的；固定的
bearing ['bεəriŋ] n. 轴承
shaft [ʃæft] n. 连杆；传动轴；旋转轴
housing ['hauziŋ] n. 机器等的防护外壳或外罩
alternate ['ɔ:ltəneit] v. 交替；轮流
rotor ['rəutə] n. 转子

## Slide 15
alternator [ 'ɔ:ltəneitə] n. 交流发电机
hydroturbine [haidrəu'tə:bin] n. 水轮机
torque [tɔ:k] n. 转矩，扭矩；
diesel ['di:zəl] n. 柴油机;柴油
wrench [rentʃ] n. 扳手；扳头；扳钳
crank [kræŋk] n. 曲柄
proportional [prəu'pɔ:ʃənəl] adj. 比例的；成比例的；相称的
equation [i'kweiʒn] n. 等式；相等；等同
conventional [kən'venʃənl] adj. 依照惯例的; 约定俗成的
be proportional to 与……成比例
be coupled to 与……联结

## Slide 16
Technical Terms
generator action 发电机作用
motor action 电动机作用
Steam and hydroturbine 汽（水）轮机
prime mover 原动机
DC generator 直流发电机
alternating current ( AC ） 交流；交流电
diesel and jet engine 柴油机和喷气发动机
hand crank 手摇曲柄
torque requirement 转矩要求

## Slide 17: Language points
1. Voltage can be induced into a wire that is in a magnetic field. This happens when the magnetic flux is cut by the wire。
磁场中的线圈切割磁力线时线圈中产生感应电压。句中，that引导定语从句，修饰限定先行词“a wire”。

## Slide 18
2. In some cases, the wire moves. In other cases, the field moves. In still others, both are moving, but at different speeds.
在一些情况下，线圈运动；在另外一些情况下磁场运动；有时两者都在运动，但运动速度各异。
3. When two magnets (or electromagnets) approach each other, one will
be either pulled toward or pushed away from the other.
当两块磁铁（或电磁铁）相互靠近时，一块将吸引或排斥另一块。

## Slide 19
4. The amount of torque applied to a shaft is proportional to two things:
施加到转轴上的转矩与下述两因素成正比。
句中，apply引导过去分词短语作定语来修饰主语，应该放在“The amount of torque”之后。apply作动词，意思是：使用（力量等）对某事物起作用。例如：
apply force, pressure, heat, etc 用力﹑ 压力﹑ 热力等

## Slide 20
5. The longer the crank handle, the greater the torque.
力越大，转矩越大。
句中，the＋比较级……，the＋比较级…… 引导一个比较状语从句，表示：愈……，愈……。例如：
The more difficult the questions are, the less likely he is able to answer them.
问题越难，他回答出来的可能性就越小。
6. Voltage is applied to a motor's terminals resulting in a current.
施加到电动机端子上的电压产生电流。

## Slide 21: Exercises
Ⅰ. Decide whether the following statements are True ( T ) or False ( F ) according to the text.
1. ______ The torque is directly proportional to the amount
of force applied, but varies inversely with distance.
2. ______ The input for a generator is electric power.
3. ______ A generator or a motor is composed of two main
parts: the stator and rotor.
4. ______ The torque requirement for a motor is the amount
of torque that is large enough to drive a load.
5. ______ The prime mover of a generator is connected to a
mechanical load.
1.T 2..F 3.T 4.F 5.F

## Slide 22: Exercises
1. direct current (DC)
2. 磁场
3. 交流，交流电
4. 转子铁芯
5. 扭力
6. the rotor shaft
7. prime mover
8. 曲柄箱
9. be inversely proportional to
10. electromagnetic principle
1. 直流，直流电
2. a magnetic field
3. alternating current (AC)
4. rotor core
5. torque force
6. 转轴
7. 原动机
8. crank case
9. 与……成反比
10. 电磁原理
Ⅱ. Translate the following expressions into Chinese or English.

## Slide 23
Ⅲ . Fill in the following blanks with the words given. There are extra
items.
alternated mechanical be coupled to tightening magnetic stationary
construction current transmitted generate is proportional to mount
1. The shaft of the turbine ___________ the rotor of the generator.
2. The steam can ___________ electricity by turning an electric generator.
3. Most people know that electricity standing still is no more useful than a
___________ belt between a steam engine and a machine that needs to be driven.
4. With the development of modern electrical engineering, power can be
___________ to wherever it is needed.
1. is coupled to 2. generate 3. Stationary 4. transmitted

## Slide 24
5. The government is ___________ up the driving laws.
6. Every wire carrying an electric current has a __________
field so long as the current flows.
7. Few of them know the ___________ of the machine.
8. The ailing man ___________ two hours of work with one
hour of rest.
5. tightening 6. magnetic 7. construction 8. alternate

## Slide 25
IV. Put the following sentences into English:
1. 在选择电动机时必须考虑其转矩要求。
2. 原动机利用机械能驱动转子。
3. 握手时用右手是一种惯例。
4. 交流电动机可分为同步电动机和异步电动机。
5. 线圈与磁场都在运动，但其速度各异。
1. Torque requirement must be taken into consideration in selecting a motor.
2. Prime movers apply mechanical power to make the rotor turn.
3. It is conventional to shake hands using the right hand.
4. Alternating motors can be classified into synchronous motors and induction
motors.
5. Both the wire and the field are in motion but not at the same rate.

## Slide 26
Typical System Layout

## Slide 27
The generators , lines , and other equipment which form an electric system are arranged depending on the manner in which load grows in the area and may be rearranged from time to time.
However, there are certain plans in­to which a particular system design may be classified. Three types are illustrat­ed: the radial system, the loop system, and the network system. All of these are shown without the necessary circuit, breakers. In each of these systems, a sin­gle generator serves four loads.
一个由发电机、线路以及其他设备构成的电力系统，其布局取决于当地的负荷增长方式，并有随时调整的可能。
然而也可采取办法对系统进行分类。以下例举三类：辐射状系统、环网系统和网络系统。所有这些在图中均未标出实际线路中不可缺少的断路器，且每个系统均由一台发电机向四个用户供电。

## Slide 28
The radial system is shown in Fig. 6-1. Here the lines
form a “tree” spreading out from the generator. Opening
any line results in interruption of power to one or more of
the loads.
辐射状系统如图6-1所示，线路以“树状”由发电机向外延伸,打开任何一段线路均会导致一个或多个用户停电。

## Slide 29
The loop system is illustrated in Fig. 6-2. With this arrangement all loads may be served even though one line section is removed from service. In some instances during nor­mal operation, the loop may be open at some point, such as A. In case a line section is to be taken out, the loop is first closed at A and then the line section removed. In this manner no service interruptions occur.
图6-2所示为环网系统。这种接线方式即使当一段线路被切除时，仍不影响所有负载的供电。有时在正常运行状况下，环网可能会在某处被断开，比如在A处。倘若有一段线路需要切除，则首先在A处、闭环，然后切除那段线路，这种方式不会使任何负载发生断电。

## Slide 30
Fig. 6-3 shows the same loads being served by a network. With this arrangement each load has two or more circuits over which it is fed. Distribution circuits are com­monly designed so that they may be classified as radial or loop circuits. The high-voltage transmission lines of most power systems are arranged as networks.
The interconnection of major power systems results in net­works made up many line sections.
图6-3表示的是同样的负载由网络方式供电，在这种配置下，每个负载有两个甚至更多的线路为其供电。
通常将配电线路设计成辐射状或环网，但是大多数高压输电线路则按网络方式布局，主要电力系统的互联形成由多个线路段组成的网络。

## Slide 31
rearrange [ri:ə'reɪndʒ] v. 重新安排; 改变秩序:调整
illustrate [i'ləstreit] v. 阐明；表明；显示为例证
radial ['reidiəl] adj. 放射状的；辐射状的；星形的
loop [lu:p] n. 环形；圈
network ['netwə:k] n. 网络；网状物；网状系统
circuit ['sə:kit] n. 电路；电路装置
interruption [intə'rʌpʃən] n. 停止；中断
transmission [trænz'miʃən] n. 传送；传递；传达
interconnection [intəkə'nekʃən] n. 互相连络
New words and phrases

## Slide 32
Ⅰ．Answer the following questions according to the text．
I. Illustrate some types of electric systems and try to find more examples to which these systems are applied in the practical application.

## Slide 33
II．Translate the following phrases and expressions．
1. Opening any line results in interruption of power to one or more of the loads.
2. In this manner no service interruptions occur.
3. With this arrangement each load has two or more circuits over which it is fed.
4. The interconnection of major power systems results in net­works made up many line sections.
1. 打开任何一段线路均会导致一个或多个用户停电。
2. 这种方式不会使任何负载发生断电。
3. 在这种配置下，每个负载有两个甚至更多的线路为其供电。
4. 主要电力系统的互联形成由多个线路段组成的网络。

## Slide 34
Thank You!