## Slide 1
Unit 22
Automatic Control System

## Slide 2
Translation
Reading More
Translating skills
Text
Automatic Control System

## Slide 3
Automatic Control System

## Slide 4
An automatic control system is a preset closed-loop control system. An automatic control system has two process variables associated with it; a controlled variable and a manipulated variable.
A controlled variable is the process variable that is maintained at a specified value or within a specified range. For example, in the water tank lever control system, the storage tank level is the controlled variable.
A manipulated variable is the process variable that is acted on by the control system to maintain the controlled variable at the specified value or within the specified range. For the previous example, the flow rate of the water supplied to the tank is the manipulated variable.
自动控制系统
自动控制系统是一个预先设定的闭环控制系统。一个自动控制系统有两个过程变量：控制量与被控量。被控量要保持为一个指定的值或在指定的范围内。例如，在水箱水位控制系统中，储水池的水位是被控量。控制量是这样一种过程变量，它是由控制系统控制用来使被控量能保持在一个理想值或指定范围内。在例中，水注入池中的速度便是一个控制量。
Automatic Control System

## Slide 5
Functions of Automatic Control
In any automatic control system, the four basic functions that occur are: Measurement, Comparison, Computation, Correction. In the water tank level control system in the example above, the level transmitter measures the level within the tank. The level transmitter sends a signal representing the tank level to the level control device, where it is compared to a desired tank level. The level control device then computes how far to open the supply valve to correct any difference between actual and desired tank levels.
自动控制系统的功能
任意一个自动控制系统都包括4个基本功能：测量、比较、计算、修正。在上例水池水位控制系统中，水位感应器测量水池中的水位。并将表示水位高低的信号传递给控制装置，控制器将该信号与所指定的信号进行比较。然后，水位控制装置计算出供水阀要打开多少才能减小实际水位和指定水位之间的差距。

## Slide 6
Elements of Automatic Control
The three functional elements needed to perform the functions of an auto­matic control system are: A measurement element, an error detection element and a final control element. Relations between these elements and functions they perform in an automatic control system are shown in Fig. 22-1.
The meas­uring element performs the measuring function by sending and evaluating the controlled variable. The error detection element first compares the value of the controlled variable to the desired value, and then signals an error if a deviation exists between the actual and desired values3. The final control element responds to the error signal by correcting the manipulated variable of the system.
自动控制的基本组成
自动控制系统有3种基本元件构成：测量元件、误差检测元件和末控制元件。这些元件之间的联系以及它们所执行的功能，如图22-1所示。测量元件执行测量的功能，即传送和计算被控量。误差检测元件先将被控量的值与期待值作比较，如果实际值和期待值间有偏差便给出一个信号。末控元件通过纠正系统的控制量对所给的误差信号进行响应。

## Slide 7
Fig. 22-1 Automatic Control Systems

## Slide 8
Feedback Control
An automatic controller is an error-sensitive, self-correcting device. It takes a signal from the process and feeds it back into the process. Therefore, closed-loop control is referred to as feedback control.
Fig. 22-2 shows basic elements of a feedback control system as represen­ted by a block diagram. The functional relationships between these elements are easily seen. An important factor to remember is that the block diagram re­presents flow paths of control signals, but does not represent flow of energy through the system or process.
反馈控制
自动控制器是一个误差检测，自动修正的装置。它从控制过程中获得信号，再将信号反馈给控制过程。因此，闭环控制既是人们所说的反馈控制。
图22-2中的方块图所示的是反馈控制系统的基本组成。这些基本元素在功能上的联系是显而易见的。有一个很重要的地方请大家记住，方块图中显示的是控制信号的流程，而不是能量在系统或控制过程中的流向。

## Slide 9
Below are several terms associated with the closed-loop block diagram. These elements are also called the "controller". The feedback elements are com­ponents needed to identify the functional relationship between the feedback signal and the controlled output. The reference point is an external signal applied to the summing point of the control system to cause the plant to produce a specified ac­tion. This signal represents the desired value of a controlled variable and is also called the "setpoint".
以下是与闭环控制方块图相关的几个术语。这些元素也可称为“控制器”。反馈环节用来确定反馈信号和控制输出之间的功能关系。参考点是一个外部信号，将其提供给控制系统的比较点，用来生成使控制设备产生指定动作的信号。能反映被控量的期待值的信号也称为“设定值”。

## Slide 10
The controlled output is the quantity or condition of the plant which is controlled. This signal represents the controlled variable. The feedback signal is sent to the summing point and algebraically added to the reference input signal to obtain the actuating signal. The actuating signal repre­sents the control action of the control loop and is equal to the algebraic sum of the reference input signal and feedback signal. This is also called the "error signal."
The manipulated variable is the variable of the process acted upon to maintain the plant output (controlled variable) at the desired value. The dis­turbance is an undesirable input signal that upsets the value of the controlled output of the plant.
控制输出量通常是数值或受控设备的状态。这个信号表示的是被控量。反馈信号传送到比较点并且在此与输人的参考信号进行代数相加以得到控制信号。这个控制信号表示的是控制环的状态，同时它的值是参考输人信号和反馈信号的代数和。该信号也称为“误差信号”。控制量是用来维持设备输出（被控量）所期待的值。而扰动量是系统不需要的输人信号，它将扰乱设备控制输出值。

## Slide 11
Fig. 22-2 Feedback Control System Block Diagram

## Slide 12
Stability of Automatic Control Systems
All control modes previously described can return a process variable to a steady value following a disturbance. This characteristic is called "stability."
Control loops can be either stable or unstable. Instability is caused by a combination of process time lags discussed earlier and inherent time lags within a control system. This results in slow response to changes in the controlled varia­ble. Consequently, the controlled variable will continuously cycle around the set-point value. Oscillation describes this characteristic.
控制系统的稳定性
之前所描述的所有的控制方式都能在扰动之后使过程值返回一个稳定值。这个特点称为“稳定性”。
控制环可能稳定也可能不稳定。不稳定性是由系统处理过程中的时间滞后和系统固有的时滞引起的。这将导致被控量变化响应迟钝。从而使被控量不断地在设定值周围变化。人们用振荡来描述这种特征。

## Slide 13
There are three types of os­cillations that can occur in a control loop. They are decreasing amplitude, con­stant amplitude, and increasing amplitude. Each is shown in Fig.22-3. Decreasing amplitude (Fig. 22-3A). These oscillations decrease in amplitude and eventually stop with a control system that opposes the change in the controlled variable. This is the condition desired in an automatic control system.
Constant amplitude (Fig.22-3B). Action of the controller sustains oscillations of the controlled variable. The controlled variable will never reach a stable condition; therefore, this condition is not desired. Increasing amplitude (Fig. 22-3C). The control system not only sustains oscillations but also increases them. The control element has reached its full travel limits and causes the process to go out of control.
在控制环中有3种振荡方式：衰减振荡、等幅振荡和发散振荡。每一种振荡的波珍图如图22-3所示。图22-3A所示的是衰减振荡。这种振荡振幅是衰减的，并且最终振荡会停止以阻止被控量的变化。这是自动控制系统中所期望得到的一种方式。图22-3B所示是等幅振荡。这种情况下控制器的动作维持着被控量的振荡。被控量永远也不能达到稳定状态，因此这种情形也不是人们所期待的。图22-3C所示是发散振荡。这种状态下，控制系统不仅要维持振荡，而且振幅不断增大。控制元件将会达到它们的调整极限，而导致系统失去控制。

## Slide 14
Fig. 22-3 Three types of oscillations

## Slide 15: New words and phrases
variable ['vεəriəbl] adj. 易变的，多变的；可变的；[生]变异的，畸变的；[数]变量的 n. 可变物，可变因素；[数]变量
manipulate [mə'nipjuleit] vt. 操作；操纵；巧妙地处理；篡改（熟练地）操作，使用
transmitter [ trasnz'mita] n. 转送者，传导物
tank [taerjk] n.（盛液体，气体的大容器）桶、箱、罐、槽
deviation [ 'diivi'eijgn] n. 背离，偏离
feedback ['fildbaek] n. 反馈，反应 .
external signal 外部信号
disturbance [ dis'tgibans] n.. 扰动
stability [sta'biliti] n. 稳定性

## Slide 16
consequently [ ' konsikwantli ] adv. 从而，因此
oscillation [ɔsi'leiʃən] n. 摆动，震动
preset [pri:'set] adj. 预先装置的；预先调整的
specific [spi'sifik] adj. 特殊的，特定的；明确的,详细的；具有特效的
transmitter [trænz'mitə] n. 发射机，发报机；传达人
relation [ri'leiʃən] n. 关系；亲属关系；叙述；故事
diagram ['daiəɡræm] n. 图表；图解
component [kəm'pəunənt] n. 成分；元件；组件
dis­turbance [di'stə:bəns] n. 干扰；骚乱；忧虑
inherent [in'hiərənt] adj. 固有的；内在的；与生俱来的，遗传的
amplitude ['æmplitju:d] n. 振幅；广阔；丰富，充足
sustain [sə'stein] vt. 支撑，承担；维持；忍受；供养

## Slide 17
Technical Terms
Automatic Control System 自动控制系统
closed-loop control system 闭环控制系统
water tank lever control system水箱水位控制系统
controlled variable被控量
manipulated variable 控制量
measurement element 测量元件
error detection element误差检测元件
final control element.末控制元件
Feedback Control反馈控制
decreasing amplitude衰减振荡
constant amplitude 等幅振荡
increasing amplitude 发散振荡

## Slide 18: Language points
1. A manipulated variable is the process variable that is acted on by the control system to maintain the controlled variable at the specified value or within the specified range.
控制量是这样一种过程变量，它是由控制系统控制用来使被控量能保持在一个期待值或一个指定范围内。
句子主干部分为A manipulated variable is the process variable，that所引导一个定语从句，对句子主干部分的补充说明。
maintain [mein'tein] vt. 维持；继续；维修；主张；供养
1) related phrases：Maintain Paramerization 持续重新参数化；连续重新参数化 Maintain Engineer 仪器工程师；注塑维修工程师 maintain face 维护面子 FILE MAINTAIN 文件更名、查找数据、删除文件 maintain discipline 维持纪律；遵守纪律 Maintain clients 维护客户

## Slide 19
2）We must maintain friendly relations with them.
我们必须和他们保持友好关系。
3）If we do not maintain justice, justice will not maintain us.
如果我们不维持公正，公正将不维持我们。----培根。
4）You know, I like to maintain good relations with my employees.
你知道的，我喜欢和我的员工维持良好的关系。

## Slide 20
2. The level control device then computes how far to open the supply valve to correct any difference between actual and desired tank levels.
然后，水位控制装置计算出供水阀要打开多少才能减小实际水位和指定水位之间的差距。
本句主干为：The level control device then computes how far to open the supply valve，to correct any difference…表目的。
supply [sə'plai] n. 供给，补给；供应品 vt. 供给，提供；补充 vi. 供给；替代
1) related phrases：supply chain 供应链；供需链；供给链 water supply 供水；给水；城市给水；给水工程 supply room 供应室；库房；材料库 air supply 气源；供给空气；空气供应；送气

## Slide 21
anode supply 阳极电源；阳极供电，板极电源 supply voltage 电源电压；供给电压；供应电压；供电电压 supply pipe 供水管；供油管；进料管；供给管 Piower supply 电源供给；电源供应 excess supply 过度供给；超額供給；超额供给；供过于求
2) We can supply the best service for you.
我们可为您提供最周到的服务。
3) Trees supply shade in summer.
夏季树木提供荫凉处。
4) High capacity supply for audio stages.
供应高容量的音频阶段。

## Slide 22
3. The error detection element first compares the value of the controlled variable to the desired value, and then signals an error if a deviation exists between the actual and desired values.
误差检测元件先将被控量的值与期待值作比较，如果实际值和期待值间有偏差便给出一个信号。
该句后半句“and then……”中if引导的是条件状语从句，强调只有在实际值和期待值有偏差是才会发出一个错误信号。
detection [di'tekʃən] n. 侦查，探测；发觉，发现；察觉
1) related phrases：automatic detection 自动检测 error detection 检错；错误检测；误差检验；差错检测 phase detection 相位检测；相位检波

## Slide 23
detection sensitivity 探测灵敏度 flaw detection 探伤检验；探伤；检验；缺点侦检 Intersection Detection 碰撞测试 amplitude detection 幅度检波；振幅检波；振幅检测；检波器 target detection 目标探测；目标检测；目标觉察；目标侦测
2) Improved detecting time faster for the face detection.
改进的检测时间更快的人脸检测。
3) The quality detection of pharmaceutical production is very important.
药品生产质量的检测是非常重要的。

## Slide 24
4. It takes a signal from the process and feeds it back into the process. Therefore, closed-loop control is referred to as feedback control.
它从控制过程中获得信号，再将信号反馈给控制过程。因此，闭环控制既是人们所说的反馈控制。
feed [fi:d] vt. 馈送；喂养；供给；放牧；抚养（家庭等）；靠…为生 vi. 吃东西；流入
1) related phrases：feed level 送料高度 pusher feed 推杆式送料 feed on 以…为食物(能源)；以----为主食；以...为生；以……为食 line feed 换行；换行，移行；换列；换行线路馈电 automatic feed 自动进纸功能；自动给料；自动给进；自动送料

## Slide 25
feed pipe 给水管；供给管路；加料管，喂料管；进给管 feed system 供料系统；供给系统；供给系统给水系统馈电系统；送料系统
2) The moving belt feeds raw material into the machine.
传送带向机器输送原料。
3) Let children feed themselves.
让孩子自行进食。

## Slide 26
5. The reference point is an external signal applied to the summing point of the control system to cause the plant to produce a specified action.
参考点是一个外部信号，将其提供给控制系统的比较点，用来生成使控制设备产生指定动作的信号。
句子主干为The reference point is an external signal，后面的applied to the summing point…用来修饰external signal。
external [ik'stə:nəl] adj. 外部的；表面的；[药]外用的；外国的；外面的 n. 外部；外观；外面
1) related phrases：external security 外部安全性；外部安全；外部性 external diameter 外径；外直径；气缸外径 external reference 外部引用；外部参照 外部参考 external benefit 外部收益；外部效益

## Slide 27
external integration 外部集成；外部整合 external financing 向外融资；向外筹措资金 external assessments 外部评估
2) The peace of God is internal, not external.
上帝的和平是内心的，不是外部的。
3) Why should it depend for recovery on external demand?
其经济复苏为何要依赖于外部需求呢？
4) Consider the impact of a project on internal and external customers.
考虑一下某个项目对内部和外部客户的影响。

## Slide 28
6. All control modes previously described can return a process variable to a steady value following a disturbance.
之前所描述的所有的控制方式都能在扰动之后使过程值返回一个稳定值。
句子主干为All control modes can return a process variable to a steady value.
steady ['stedi] adj. 稳定的；不变的；沉着的 vi. 稳固 vt. 使稳定；稳固；使坚定 adv. 稳定地；稳固地
1) related phrases：steady growth 稳步增长；增长平稳 steady run 定常运行；定速跑法；稳定运行 steady turning 稳态回旋；稳定旋回 Steady Shot 防震功能；稳定拍摄；稳定射击；防抖功能 steady sound 稳定音

## Slide 29
2) He steadied a coin on the top of the basketball bank.
他把一枚硬币稳稳地放在篮板的顶上面。
3) Oil prices have remained steady.
油价依然保持稳定。

## Slide 30: Exercises
I. Answer the following questions according to the text.
What are the basic functions of the automatic control system?
Why the closed-loop control is referred to as feedback control?
In any automatic control system, the four basic functions that occur are: measurement, comparison, computation, correction.
An automatic controller is an error-sensitive, self-correcting device. It takes a signal from the process and feeds it back into the process. Therefore, closed-loop control is referred to as feedback control.

## Slide 31
  3. What are the three functional elements needed to perform the functions of an auto­matic control system?
The three functional elements needed to perform the functions of an automatic control system are: a measurement element, an error detection element and a final control element.

## Slide 32
II．Fill the blanks of the following sentences.
1. In the water tank lever control system, （ ） is the controlled variable, （ ） is the manipulated variable.
2. The measuring element performs the measuring function by（ ） and （ ） the controlled variable.
3. There are three types of oscillations that can occur in a control loop. They are （ ）, （ ）, and （ ）.
4. Therefore, closed-loop control is referred to as （ ）.
5. Below are several terms associated with the closed-loop block diagram. These elements are also called the（ ）.

## Slide 33
1. the storage tank level, the process variable
2. sending, evaluating
3. decreasing amplitude, con­stant amplitude, increasing amplitude
4. feedback control
5. controller

## Slide 34
II．Translate the following sentences into Chinese or English．
The level transmitter sends a signal representing the tank level to the level control device, where it is compared to a desired tank level.
This results in slow response to changes in the controlled variable.
Instability is caused by a combination of process time lags discussed earlier and inherent time lags within a control system.
水位传感器将表示水位高低的信号传递给控制装置，控制器将该信号与所指定的信号进行比较。
这将导致被控量变化响应迟钝。
不稳定性是由系统处理过程中的时间滞后和系统固有的时滞引起的。

## Slide 35
4. 控制元件将会达到它们的调整极限，从而导致系统失去控制。
5. 它从控制过程中获得信号，再将信号反馈给控制过程。
The control element has reached its full travel limits and causes the process to go out of control.
It takes a signal from the process and feeds it back into the process.

## Slide 36
Practical English
如何写英文求职信
英文求职信是大学生步入社会、走向工作岗位的第一步，了解求职信的写法具有实际意义。那么，如何写好英文求职信呢？关键要处理好求职信的五个组成部分：写信动机、自我介绍、本人能力、结尾、附件。
一、写信动机
通常求职信是针对报纸上招聘广告而写的。若此，信中须提到何月何日的报纸，有时工作机会是从朋友或介绍所听来的，有时写信人不知某机构、公司有工作机会，毛遂自荐。不论哪一种，求职信上一定要说明写信的缘由和目的。因此首先应该表明你是在何家媒体看到应聘广告以及所要应聘的职位。参考例句：

## Slide 37
1. In reply to your advertisement in today’s newspaper, respectfully offer my services for the situation.
拜读今日XX报上贵公司的广告，本人特此备函应征该职位。
2. Replying to your advertisement into- days issue of the (newspaper),I wish to apply for the position in your esteemed firm.
拜读贵公司在今日(报纸)上广告，特此备函应征贵公司该职位。
3.With reference to your advertisement in(newspaper)of May 2for a clerk，I offer myself for the post.
从五月二日XX报上广告栏得知贵公司招聘一位职员，我愿应招。

## Slide 38
二、自我介绍
写信人应述明自己的年龄或出生年月、教育背景，尤其与应征职位有关的训练或教育科目、工作经验或特殊技能。如无实际经验，略述在学类似经验亦可。参考例句：
1. For the past three years, have been in the office of the XX Trading Co., where I have been an accountant.
本人曾经在XX贸易公司服务三年，担任会计工作。
2. I am twenty years of age, and have been employed for the last two years by the XX Co., in the general clerical work of the office.
我今年20岁，曾在XX公司服务两年，担任一般文员工作。
3. I am twenty years of age, and am anxious to settle down to office work.
本人20岁，希望能找到一个公司，以便安定下来。

## Slide 39
三、本人能力
这部分非常重要，因为这体现你究竟能为公司做什么，直接关系到求职的成功率。但是也要注意一定要用最少的文字表达最多的意思。参考例句：
1. I am able to take dictation in English and translate it rapidly into Chinese.
我会英文的口授笔记，同时能立即将其翻译成中文。
2. I have received an English education, and have a slight knowledge of Spanish. I took a Spanish course in college.
本人接受英文教育，同时略通西班牙文。大学时，我修了西班牙文。
3. I have been at the City Commercial College, where I have acquired a knowledge of English, mathematics and elementary business practice.
本人曾在城市商专学英文、数学以及初级商业实务。

## Slide 40
四、结尾
希望并请求未来的雇主允以面谈的机会，因此信中要表明可以面谈的时间。成功的求职信决不是虎头蛇尾的，结尾一定要引起重视。参考例句：
1. I should be glad to have a personal interview and can furnish references if desired.
如获面试 ，则感幸甚。如需保证人，本人也可提出。
2. I request an interview, and assure you that if appointed, I will do my best to give you satisfaction.
恳请惠予面试之荣。如蒙录用，本人必竭尽所能，为贵公司服务，以符厚望。
3. If you desire an interview, I shall be most happy to call in person，on any day and at any time you may appoint.
如贵公司有意面试 ，本人一定遵照所指定的时日，前往拜访。

## Slide 41
五、附件
这部分视具体情况而定，如有详细的简历或用人单位需要的材料附在求职信中时，需要注明。参考例句：
1. You will find enclosed an outline of my education and business training and copies of two letters of recommendation.
有关本人的学历、工作经验等项的概要，谨同函呈上两件推荐函。
2. Enclosed please find a resume and a photo.
随函寄上简历表及相片各一份。
3. A copy of my transcript is enclosed.
附寄成绩单一份。

## Slide 42
Automating the Analysis of Faults and Power Quality
The restructuring of the power industry has introduced even more strict criteria for supervising the system operation and monitoring performance of the equipment than before. Translated into the field of monitoring the operation of protective relaying and related equipment and analysis of system disturbances, the new criterion means better, faster, and more reliable automated systems.
Intelligent systems and advanced signal processing techniques are used in the automated analysis of disturbances and protective relay operations.
Reading More
故障及电质量的分析自动化
在电力工业进行重组的过程中，对系统运行及设备性能状况进行的监视引入了比过去更多的严格标准。对继电保护及相关设备的运行监视和对系统扰动的分析而言，新的标准意味着自动化系统更快、更好、更可靠。
智能系统和先进的信号处理技术被运用于扰动和继电保护的自动分析中。

## Slide 43
A very common approach for the monitoring and analysis of fault disturbances and relat­ed equipment operations is to use digital fault recorders (DFRs). These instruments are very useful, since they acquire both analog (waveforms) and digital (contacts) information. The data is sampled synchronously in a given substation and allows detailed visual analysis of the events and equipment operations. The data can be transferred to a Master Station located at a central office where system data may be displayed and further analyzed by the operators.
一种用于监视并分析故障扰动和相关设备运行状况的常用方法是使用数字故障记录仪 ( DFR ）。这类仪器很实用，因为它们既记录模拟信息（波形），又记录数字（触点）信息。在给定的子站中数据被同步取样，以便对事件和设备运行进行详细直观的分析。这些数据可以传送到位于主控室的主站上，由运行人员对系统数据进行调用、显示及进一步的分析。

## Slide 44
This passage introduces an advanced system for automated fault analysis, accurate fault location, and extensive power quality monitoring based on the DFR infrastructure. Existing DFRs can be modified to provide the required data acquisition features. The existing commu­nication network and processing power can be extended to accommodate the required data ac­quisition, processing, and analysis. New software can be developed to accomplish the automa­ted analysis.
本文介绍了一种以数字故障记录仪为基本设施的先进系统，它用于自动故障分析、准确故障定位和广泛的电能质量监视。现有的数字故障记录仪可以加以改装提供所需数据的采集功能。现有的通信网络的处理能力可加以扩展以适应数据采集、处理和分析的需求。亦可开发自动分析的新软件。

## Slide 45
The first part of the passage describes an automated system for fault analysis developed using expert system technology. The system is capable of analyzing the DFR data either lo­cally in a substation or in a certain location2. A variety of communication services are also im­plemented to facilitate storing, viewing, and distributing of the analysis reports.
文章的第一部分介绍了采用专家系统技术开发的用于故障分析的自动系统。此系统可在变电站或某一地点就地分析数字故障记录仪的数据。此外，系统还配备各种通信设施便于储存、检索和分发分析报告。

## Slide 46
The second part of the passage discusses possibilities for accurate fault location using synchronized sampling. An algorithm that uses data synchronously taken at both ends of a line is introduced. The required modifications of the DFRs to provide Global Positioning System (GPS) satellite-controlled sampling of the input data are proposed3.
文章第二部分讨论了采用同步取样的方式进行准确故障定位的可能性，介绍了一种使用线路两端同步获得数据的算法。文章还建议修改数字故障记录仪以提供全球定位系统（ GPS ) 卫星控制输人数据的采样。

## Slide 47
The last part of the passage points out how the automated fault analysis and synchro­nized sampling technologies can be extended to the monitoring of power quality disturb­ances. Further modifications of the DFR are proposed to allow for continuous monitoring of the events. A variety of digital signal processing algorithms for power quality monitoring and analysis are referenced.
文章的最后一部分指出自动故障分析和同步取样技术怎样才能扩展到对电能质量扰动的监视。本文建议对数字故障记录仪做进一步的修改以便对事件进行连续监视。电能质量监视和分析的多种数字信号处理算法在此引用供参考。

## Slide 48
Next Generation Systems for Automated DFR File Classification
Various types of users have different needs regarding the response time and/or information provided by a fault anal­ysis system. Protection engineers are interested in getting detailed and specific information regarding the operation of the protection system and related equipment during an event. Technicians require a summary of the fault classification to help them troubleshoot in­correct operations of protection equipment. System dispatchers are interested in getting con­densed fault analysis information as soon as possible after the occurrence of a fault.
新一代自动数字故障记录仪文件分类系统
不同的用户对自动数字故障记录仪提供的响应时间和（或）程度有不同的要求。保护工程师对获取事件过程中保护系统和相关设备运行状况的详细和特定资料感兴趣。技术员想了解故障分类情况便于协助他们检修保护系统中的故障，系统调度员希望事故发生后尽快获得简要的故障分析资料，

## Slide 49
The dispatchers’ main interest is determination of accurate fault location and switching equipment status that enables them to make decisions about the system restoration.
The integrated fault analysis system features in this passage can be built with existing technology and can satisfy all three groups of users: protection engineers, technicians, and system dispatchers.
调度员的主要兴趣在于准确确定故障地点和开关设备状态，使他们能就系统恢复做出决定。
本文提到的综合故障分析系统特性可利用现有技术建立，并能满足上述三类用户的需求：保护工程师、技术员和系统调度员。

## Slide 50
restructure [ri:'strʌktʃə] v. 重新组织，调整
criteria [krai'tiəriə] n. （单）尺度，标准
supervise ['sju:pəvaiz] v. 监督，管理，指导
substation ['sʌbsteiʃən] n. 变电站
infrastructure['infrə,strʌktʃə] n. 基础构造，基础结构
acquisition [ækwi'ziʃən] n. 获得，购置
accommodate [ə'kɔmədeit] v. 容纳；适应
implement ['implimənt] v. & n . 容纳；适应贯彻
synchrocyclotron [,sinkrəu'saiklətrɔn] n . 同步回旋加速器
New words and phrases

## Slide 51
algorithm ['ælgə,riðəm] n.［数］运算法则
troubleshoot ['trʌblʃu:t] vt. 检修故障，查找故障
troubleshooter ['trʌbl,ʃu:tə] n. 纷争解决者，调解纷争专家
dispatcher [dis'pætʃə] n. 调度员，发报机
status ['steitəs] n. 情形，状况；身份，地位
restoration] [restə'reiʃən] n. 恢复，复位，复职，归还
integrate ['intigreit] v. 使结合，纳人
intelligent system 智能系统
digital fault recorder 数字故障记录仪
be transfered to 转换
point out 指出

## Slide 52
system disturbances
Intelligent systems
protective relay operations
automated fault analysis
accurate fault location
system dispatchers
Exercises
I．Translate the following terms into Chinese.
系统扰动
智能系统
继电保护
自动故障分析
准确故障定位
系统调度员

## Slide 53
I．Translate the following sentences into Chinese or English．
Intelligent systems and advanced signal processing techniques are used in the automated analysis of disturbances and protective relay operations.
2. The dispatchers’ main interest is determination of accurate fault location and switching equipment status that enables them to make decisions about the system restoration.
智能系统和先进的信号处理技术被运用于扰动和继电保护的自动分析中。
调度员的主要兴趣在于准确确定故障地点和开关设备状态，使他们能就系统恢复做出决定。

## Slide 54
3. The integrated fault analysis system features in this passage can be built with existing technology.
4. 此外，系统还配备各种通信设施便于储存、检索和分发分析报告。
5. 新的标准意味着自动化系统更快、更好、更可靠。
本文提到的综合故障分析系统特性可利用现有技术建立。
The new criterion means better, faster, and more reliable automated systems.
A variety of communication services are also implemented to facilitate storing, viewing, and distributing of the analysis reports.

## Slide 55
Thank you!